## Read Me
OLD GUARD CANNABIS ADVISORS
Extraction Facility Layout & Workflow Planning Checklist
A zone-by-zone planning checklist built around unidirectional material flow and contamination control -- the layout logic that separates a facility that passes a GMP audit from one that doesn't.
How to use this
- Work through each zone before finalizing your build-out drawings, not after.
- Adjacency Requirements are the relationships that matter most -- get these wrong and you're re-routing product traffic through your own bottlenecks.
This tool is a starting scaffold, not a substitute for a facility-specific review. Every operation's risk profile, equipment, and regulatory footprint is different.
Old Guard Cannabis Advisors ¦ oldguardcannabis.com ¦ alex@oldguardcannabis.com

## Layout Planning
Zone | Purpose | Key Adjacency Requirements | Status | Notes
Intake / Receiving | Raw material check-in, weighing, initial inspection | Near facility entrance; away from finished product storage
Trim / Prep | Material preparation before processing | Adjacent to Intake; separated from Extraction Bay
Extraction Bay | Primary extraction (hydrocarbon requires C1D1 rating) | Isolated ventilation; restricted access; away from ignition sources
Post-Processing | Winterization, purging, filtration | Adjacent to Extraction Bay; separated from QC/Lab
QC / Lab | In-house testing and quality checks | Isolated from production traffic; controlled access
Packaging | Final packaging and labeling | Downstream of QC; separated from raw material areas
Storage - Raw Material | Incoming biomass/material storage | Near Intake; climate controlled
Storage - Finished Product | Vault/secure finished product storage | Restricted access; alarmed; near Packaging, away from Intake
Storage - Waste | Cannabis waste holding pending disposal | Separated from all product areas; documented chain of custody
Employee / PPE Area | Gowning, handwashing, PPE storage | Positioned as a mandatory pass-through before production areas